SECTION 01 4200 – REFERENCES

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

Delete hidden text after this Section has been edited for the Project.

- GENERAL

      - RELATED DOCUMENTS

        - Drawings and general provisions of the Contract, including General and Supplementary Conditions and other Division 01 Specification Sections, apply to this Section.

        - The Contractor's attention is specifically directed, but not limited, to the following documents for additional requirements:

          - The current version of the Uniform General Conditions for Construction Contracts, State of Texas, available on the web site of the Texas Facilities Commission.

          - The University of Houston’s Supplemental General Conditions and Special Conditions for Construction.

      - DEFINITIONS

        - General: Basic Contract definitions are included in the Conditions of the Contract.

        - "Approved": When used to convey Architect's action on Contractor's submittals, applications, and requests, "approved" is limited to Architect's duties and responsibilities as stated in the Conditions of the Contract.

        - "Directed": A command or instruction by Architect. Other terms including "requested," "authorized," "selected," "required," and "permitted" have the same meaning as "directed."

        - "Indicated": Requirements expressed by graphic representations or in written form on Drawings, in Specifications, and in other Contract Documents. Other terms including "shown," "noted," "scheduled," and "specified" have the same meaning as "indicated."

        - "Regulations": Laws, ordinances, statutes, and lawful orders issued by authorities having jurisdiction, and rules, conventions, and agreements within the construction industry that control performance of the Work.

        - "Furnish": Supply and deliver to Project site, ready for unloading, unpacking, assembly, installation, and similar operations.

        - "Install": Operations at Project site including unloading, temporarily storing, unpacking, assembling, erecting, placing, anchoring, applying, working to dimension, finishing, curing, protecting, cleaning, and similar operations.

        - "Provide": Furnish and install, complete and ready for the intended use.

        - "Project Site": Space available for performing construction activities. The extent of Project site is shown on Drawings and may or may not be identical with the description of the land on which Project is to be built.

      - INDUSTRY STANDARDS

        - Applicability of Standards: Unless the Contract Documents include more stringent requirements, applicable construction industry standards have the same force and effect as if bound or copied directly into the Contract Documents to the extent referenced. Such standards are made a part of the Contract Documents by reference.

        - Publication Dates: Comply with standards in effect as of date of the Contract Documents unless otherwise indicated.

        - Copies of Standards: Each entity engaged in construction on Project should be familiar with industry standards applicable to its construction activity. Copies of applicable standards are not bound with the Contract Documents.

          - Where copies of standards are needed to perform a required construction activity, obtain copies directly from publication source.

      - ABBREVIATIONS AND ACRONYMS

        - Industry Organizations: Where abbreviations and acronyms are used in Specifications or other Contract Documents, they shall mean the recognized name of the entities indicated in Thomson Gale's "Encyclopedia of Associations" or in Columbia Books' "National Trade & Professional Associations of the U.S."

Retain "Code Agencies" Paragraph below if required. The Section Text in MasterSpec Sections is prepared assuming list is retained.

        - Code Agencies: Where abbreviations and acronyms are used in Specifications or other Contract Documents, they shall mean the recognized name of the entities in the following list. Names, telephone numbers, and Web sites are subject to change and are believed to be accurate and up-to-date as of the date of the Contract Documents.

| IAPMO | International Association of Plumbing and Mechanical Officials | (909) 472-4100 |
| --- | --- | --- |
|  | www.iapmo.org |  |
| ICC | International Code Council | (888) 422-7233 |
|  | www.iccsafe.org |  |
| ICC-ES | ICC Evaluation Service, Inc. | (800) 423-6587 |
|  | www.icc-es.org | (562) 699-0543 |

        - Federal Government Agencies: Where abbreviations and acronyms are used in Specifications or other Contract Documents, they shall mean the recognized name of the entities in the following list. Names, telephone numbers, and Web sites are subject to change and are believed to be accurate and up-to-date as of the date of the Contract Documents.

| COE | Army Corps of Engineers | (202) 761-0011 |
| --- | --- | --- |
|  | www.usace.army.mil |  |
| CPSC | Consumer Product Safety Commission | (800) 638-2772 |
|  | www.cpsc.gov | (301) 504-7923 |
| DOC | Department of Commerce | (202) 482-2000 |
|  | www.commerce.gov |  |
| DOD | Department of Defense | (215) 697-6257 |
|  | http://dodssp.daps.dla.mil |  |
| DOE | Department of Energy | (202) 586-9220 |
|  | www.energy.gov |  |
| EPA | Environmental Protection Agency | (202) 272-0167 |
|  | www.epa.gov |  |
| FAA | Federal Aviation Administration | (866) 835-5322 |
|  | www.faa.gov |  |
| FCC | Federal Communications Commission | (888) 225-5322 |
|  | www.fcc.gov |  |
| FDA | Food and Drug Administration | (888) 463-6332 |
|  | www.fda.gov |  |
| GSA | General Services Administration | (800) 488-3111 |
|  | www.gsa.gov |  |
| HUD | Department of Housing and Urban Development | (202) 708-1112 |
|  | www.hud.gov |  |
| LBL | Lawrence Berkeley National Laboratory | (510) 486-4000 |
|  | www.lbl.gov |  |
| NCHRP | National Cooperative Highway Research Program |  |
|  | (See TRB) |  |
| NIST | National Institute of Standards and Technology | (301) 975-6478 |
|  | www.nist.gov |  |
| OSHA | Occupational Safety & Health Administration | (800) 321-6742 |
|  | www.osha.gov | (202) 693-1999 |
| PBS | Public Buildings Service |  |
|  | (See GSA) |  |
| PHS | Office of Public Health and Science | (202) 690-7694 |
|  | http://www.hhs.gov/ophs/ |  |
| RUS | Rural Utilities Service | (202) 720-9540 |
|  | (See USDA) |  |
| SD | State Department | (202) 647-4000 |
|  | www.state.gov |  |
| TRB | Transportation Research Board | (202) 334-2934 |
|  | http://gulliver.trb.org |  |
| USDA | Department of Agriculture | (202) 720-2791 |
|  | www.usda.gov |  |
| USP | U.S. Pharmacopeia | (800) 227-8772 |
|  | www.usp.org |  |
| USPS | Postal Service | (202) 268-2000 |
|  | www.usps.com |  |

        - Standards and Regulations: Where abbreviations and acronyms are used in Specifications or other Contract Documents, they shall mean the recognized name of the standards and regulations in the following list. Names, telephone numbers, and Web sites are subject to change and are believed to be accurate and up-to-date as of the date of the Contract Documents.

| ADAAG | Americans with Disabilities Act (ADA) | (800) 872-2253 |
| --- | --- | --- |
|  | Architectural Barriers Act (ABA) | (202) 272-0080 |
|  | Accessibility Guidelines for Buildings and Facilities |  |
|  | Available from U.S. Access Board |  |
|  | www.access-board.gov |  |
| CFR | Code of Federal Regulations | (866) 512-1800 |
|  | Available from Government Printing Office | (202) 512-1800 |
|  | www.gpoaccess.gov/cfr/index.html |  |
| DOD | Department of Defense Military Specifications and Standards | (215) 697-2664 |
|  | Available from Department of Defense Single Stock Point |  |
|  | http://dodssp.daps.dla.mil |  |
| DSCC | Defense Supply Center Columbus |  |
|  | (See FS) |  |
| FED-STD | Federal Standard |  |
|  | (See FS) |  |
| FS | Federal Specification | (215) 697-2664 |
|  | Available from Department of Defense Single Stock Point |  |
|  | http://dodssp.daps.dla.mil/ |  |
|  | Available from Defense Standardization Program |  |
|  | www.dsp.dla.mil |  |
|  | Available from General Services Administration | (202) 619-8925 |
|  | www.gsa.gov |  |
|  | Available from National Institute of Building Sciences | (202) 289-7800 |
|  | www.wbdg.org/ccb |  |
| FTMS | Federal Test Method Standard |  |
|  | (See FS) |  |
| MIL | (See MILSPEC) |  |
| MIL-STD | (See MILSPEC) |  |
| MILSPEC | Military Specification and Standards | (215) 697-2664 |
|  | Available from Department of Defense Single Stock Point |  |
|  | http://dodssp.daps.dla.mil |  |
| UFAS | Uniform Federal Accessibility Standards | (800) 872-2253 |
|  | Available from Access Board | (202) 272-0080 |
|  | www.access-board.gov |  |

        - State Government Agencies: Where abbreviations and acronyms are used in Specifications or other Contract Documents, they shall mean the recognized name of the entities in the following list. Names, telephone numbers, and Web sites are subject to change and are believed to be accurate and up-to-date as of the date of the Contract Documents.

| TDLR | Texas Department of Licensing and Regulation |  |
| --- | --- | --- |
| TAS | Texas Accessibility Standards www.tdlr.texas.gov |  |
| TDSHS | Texas Department of State Health Services |  |
|  | www.dshs.texas .gov |  |
| TCEQ | Texas Commission on Environmental Quality |  |
|  | www.tceq.texas.gov |  |
| TDI | Texas Department of Insurance |  |
|  | www.tdi.texas.gov |  |
| TFS | Texas Forest Service |  |
|  | Forest Resource Development |  |
|  | www.tfsweb.tamu.edu |  |

- PRODUCTS (Not Used)

- EXECUTION (Not Used)

END OF SECTION 01 4200