SECTION 01 6000 - PRODUCT REQUIREMENTS

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

Delete hidden text after this Section has been edited for the Project.

- GENERAL

      - RELATED DOCUMENTS

        - Drawings and general provisions of the Contract, including General and Supplementary Conditions and other Division 01 Specification Sections, apply to this Section.

        - The Contractor's attention is specifically directed, but not limited, to the following documents for additional requirements:

          - The current version of the Uniform General Conditions for Construction Contracts, State of Texas, available on the web site of the Texas Facilities Commission.

          - The University of Houston’s Supplemental General Conditions and Special Conditions for Construction.

      - SUMMARY

        - Section includes administrative and procedural requirements for selection of products for use in Project; product delivery, storage, and handling; manufacturers' standard warranties on products; special warranties; and comparable products.

      - DEFINITIONS

        - Products:  Items obtained for incorporating into the Work, whether purchased for Project or taken from previously purchased stock.  The term "product" includes the terms "material," "equipment," "system," and terms of similar intent.

          - Named Products:  Items identified by manufacturer's product name, including make or model number or other designation shown or listed in manufacturer's published product literature that is current as of date of the Contract Documents.

          - New Products:  Items that have not previously been incorporated into another project or facility.  Products salvaged or recycled from other projects are not considered new products.

          - Comparable Product: Product that is demonstrated and approved through submittal process to have the indicated qualities related to type, function, dimension, in-service performance, physical properties, appearance, and other characteristics that equal or exceed those of specified product.

        - Basis-of-Design Product Specification:  A specification in which a specific manufacturer's product is named and accompanied by the words "basis-of-design product," including make or model number or other designation, to establish the significant qualities related to type, function, dimension, in-service performance, physical properties, appearance, and other characteristics for purposes of evaluating comparable products of additional manufacturers named in the specification.

      - ACTION SUBMITTALS

        - Comparable Product Requests: Submit request for consideration of each comparable product.  Identify product or fabrication or installation method to be replaced. Include Specification Section number and title and Drawing numbers and titles. Note that no substitutions for convenience are allowed per Section 01 2500.

          - Include data to indicate compliance with the requirements specified in "Comparable Products" Article.

          - Architect's Action:  If necessary, Architect will request additional information or documentation for evaluation within one week of receipt of a comparable product request.  Architect will notify Contractor of approval or rejection of proposed comparable product request within 15 days of receipt of request, or seven days of receipt of additional information or documentation, whichever is later.

            - Form of Approval:  As specified in Section 01 3300 "Submittal Procedures."

            - Use product specified if Architect does not issue a decision on use of a comparable product request within time allocated.

        - Basis-of-Design Product Specification Submittal:  Comply with requirements in Section 01 3300 "Submittal Procedures."  Show compliance with requirements.

      - QUALITY ASSURANCE

        - Compatibility of Options:  If Contractor is given option of selecting between two or more products for use on Project, select product compatible with products previously selected, even if previously selected products were also options.

      - PRODUCT DELIVERY, STORAGE, AND HANDLING

        - Deliver, store, and handle products using means and methods that will prevent damage, deterioration, and loss, including theft and vandalism.  Comply with manufacturer's written instructions.

        - Delivery and Handling:

          - Schedule delivery to minimize long-term storage at Project site and to prevent overcrowding of construction spaces.

          - Coordinate delivery with installation time to ensure minimum holding time for items that are flammable, hazardous, easily damaged, or sensitive to deterioration, theft, and other losses.

          - Deliver products to Project site in an undamaged condition in manufacturer's original sealed container or other packaging system, complete with labels and instructions for handling, storing, unpacking, protecting, and installing.

          - Inspect products on delivery to determine compliance with the Contract Documents and to determine that products are undamaged and properly protected.

        - Storage:

          - Store products to allow for inspection and measurement of quantity or counting of units.

          - Store materials in a manner that will not endanger Project structure.

          - Store products that are subject to damage by the elements, under cover in a weathertight enclosure above ground, with ventilation adequate to prevent condensation.

          - Protect foam plastic from exposure to sunlight, except to extent necessary for period of installation and concealment.

          - Comply with product manufacturer's written instructions for temperature, humidity, ventilation, and weather-protection requirements for storage.

          - Protect stored products from damage and liquids from freezing.

          - Provide a secure location and enclosure at Project site for storage of materials and equipment by Owner's construction forces.  Coordinate location with Owner.

      - PRODUCT WARRANTIES

        - Warranties specified in other Sections shall be in addition to, and run concurrent with, other warranties required by the Contract Documents.  Manufacturer's disclaimers and limitations on product warranties do not relieve Contractor of obligations under requirements of the Contract Documents.

Warranty in "Manufacturer's Warranty" Subparagraph below is manufacturer's standard and may have exclusions and limitations that do not suit Project.  Check warranties and specify special warranties if manufacturers' warranties are unsuitable.

          - Manufacturer's Warranty:  Written warranty furnished by individual manufacturer for a particular product and specifically endorsed by manufacturer to Owner.

          - Special Warranty:  Written warranty required by the Contract Documents to provide specific rights for Owner.

        - Special Warranties:  Prepare a written document that contains appropriate terms and identification, ready for execution.

          - Manufacturer's Standard Form:  Modified to include Project-specific information and properly executed.

          - Specified Form:  When specified forms are included with the Specifications, prepare a written document using indicated form properly executed.

          - See other Sections for specific content requirements and particular requirements for submitting special warranties.

        - Submittal Time:  Comply with requirements in Section 01 7700 "Closeout Procedures."

- PRODUCTS

      - PRODUCT SELECTION PROCEDURES

        - General Product Requirements:  Provide products that comply with the Contract Documents, are undamaged and, unless otherwise indicated, are new at time of installation.

          - Provide products complete with accessories, trim, finish, fasteners, and other items needed for a complete installation and indicated use and effect.

          - Standard Products:  If available, and unless custom products or nonstandard options are specified, provide standard products of types that have been produced and used successfully in similar situations on other projects.

          - Owner reserves the right to limit selection to products with warranties not in conflict with requirements of the Contract Documents.

          - Where products are accompanied by the term "as selected," Architect will make selection.

          - Descriptive, performance, and reference standard requirements in the Specifications establish salient characteristics of products.

        - Product Selection Procedures:

          - Product:  Where Specifications name a single manufacturer and product, provide the named product that complies with requirements.  Comparable products or substitutions for Contractor's convenience will not be considered.

          - Manufacturer/Source:  Where Specifications name a single manufacturer or source, provide a product by the named manufacturer or source that complies with requirements.  Comparable products or substitutions for Contractor's convenience will not be considered.

          - Products:

            - Restricted List:  Where Specifications include a list of names of both manufacturers and products, provide one of the products listed that complies with requirements.  Comparable products or substitutions for Contractor's convenience will not be considered unless otherwise indicated.

          - Manufacturers:

            - Restricted List:  Where Specifications include a list of manufacturers' names, provide a product by one of the manufacturers listed that complies with requirements. Comparable products or substitutions for Contractor's convenience will not be considered unless otherwise indicated.

          - Basis-of-Design Product:  Where Specifications name a product, or refer to a product indicated on Drawings, and include a list of manufacturers and/or products, provide the specified or indicated product or a comparable product by one of the other named manufacturers.  Drawings and Specifications indicate sizes, profiles, dimensions, and other characteristics that are based on the product named.  Comply with requirements in "Comparable Products" Article for consideration of an unnamed product by one of the other named manufacturers.

        - Visual Matching Specification:  Where Specifications require "match Architect's sample", provide a product that complies with requirements and matches Architect's sample.  Architect's decision will be final on whether a proposed product matches.

          - If no product available within specified category matches and complies with other specified requirements, comply with requirements in Section 01 2500 "Substitution Procedures" for proposal of product.

        - Visual Selection Specification:  Where Specifications include the phrase "as selected by Architect from manufacturer's full range" or similar phrase, select a product that complies with requirements.  Architect will select color, gloss, pattern, density, or texture from manufacturer's product line that includes both standard and premium items.

      - COMPARABLE PRODUCTS

        - Conditions for Consideration: Architect will consider Contractor's request for comparable products when the following conditions are satisfied.  Note that substitutions for convenience are not allowed per Section 01 2500.  If the following conditions are not satisfied, Architect may return requests without action, except to record noncompliance with these requirements:

          - Evidence that the proposed product does not require revisions to the Contract Documents; that it is consistent with the Contract Documents and will produce the indicated results; and that it is compatible with other portions of the Work.

          - Detailed comparison of significant qualities of proposed product with those named in the Specifications.  Significant qualities include attributes such as performance, weight, size, durability, visual effect, and specific features and requirements indicated.

          - Evidence that proposed product provides specified warranty.

          - List of similar installations for completed projects with project names and addresses and names and addresses of architects and owners, if requested.

          - Samples, if requested.

- EXECUTION (Not Used)

END OF SECTION 01 6000