Copyright 2010 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 08 32 13 - SLIDING ALUMINUM-FRAMED GLASS DOORS

- GENERAL

      - RELATED DOCUMENTS

Retain or delete this article in all Sections of Project Manual.

        - Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

      - SUMMARY

        - Section includes sliding aluminum-framed glass doors for exterior locations.

        - Related Sections:

Retain Sections in subparagraphs below that contain requirements Contractor might expect to find in this Section but are specified in other Sections.

          - Section 08 41 13 "Aluminum-Framed Entrances and Storefronts" for coordinating finish among aluminum fenestration units on the building exterior.

          - [Section 08 71 00 "Door Hardware"] for hardware not specified in this Section.

      - PERFORMANCE REQUIREMENTS

See "Writing Guide" Article in the Evaluations for guidance in editing this article and for selecting "performance designation" or "test performance" method for specifying sliding aluminum-framed glass doors.

        - General:  Provide sliding aluminum-framed glass doors capable of complying with performance requirements indicated, based on testing manufacturer's sliding doors that are representative of those specified, and that are of minimum test size indicated below:

Retain one of three subparagraphs below.  AAMA/WDMA/CSA 101/I.S.2/A440 allows manufacturer to use a smaller size than required under gateway performance requirements to test for compliance with optional performance grade.

          - Size required by AAMA/WDMA/CSA 101/I.S.2/A440 for [gateway performance] [optional performance grade] [gateway performance for both gateway performance and optional performance grade].

          - Size indicated [on Drawings] [in a schedule].

          - <Insert size>.

Retain first paragraph below if Architect either has delegated design responsibility to Contractor or wants to review structural data as another way to verify doors' compliance with performance requirements or performance designation.

        - Structural Performance:  Provide sliding aluminum-framed glass doors capable of withstanding the effects of the following loads, based on testing units representative of those indicated for Project that pass AAMA/WDMA/CSA 101/I.S.2/A440, Uniform Load Structural Test:

          - Design Wind Loads:  Determine design wind loads under conditions indicated according to [ASCE/SEI 7] <Insert requirement>.

Retain first four subparagraphs below, applicable to ASCE/SEI 7, if information is not indicated on Drawings.  Other factors that adjust for building height, shape, and other characteristics such as topographic factor, gust effect factor, and enclosure classifications may need to be included.  This information should enable contractors to require sliding door manufacturers to determine positive and negative (including applicable internal pressures) design wind pressure loads.

            - Basic Wind Speed:  [85 mph (38 m/s)] [90 mph (40 m/s)] <Insert value>.

            - Importance Factor:  <Insert factor>.

            - Exposure Category:  [B] [C] [D].

            - <Insert factor>.

AAMA/WDMA/CSA 101/I.S.2/A440 makes an exception to requirement in ASTM E 1300 and in GANA's "Glazing Manual" for R, LC, and C class sliding doors that frame systems be sufficiently stiff to limit lateral deflections of glass edges to less than 1/175 of their length.  Only AW and HC class sliding doors must pass the Uniform Load Deflection Test.  Retaining subparagraph below for sliding doors other than AW and HC classes may require manufacturers to provide a custom door unless calculations or test data recorded during the Uniform Load Structural Test indicate that frame deflections comply with the 1/175 limitation.

          - Deflection Limits:  Design glass framing system to limit lateral deflections of glass edges to less than 1/175 of glass-edge length or 3/4 inch (19 mm), whichever is less, at design pressure based on testing performed according to AAMA/WDMA/CSA 101/I.S.2/A440, Uniform Load Deflection Test, or structural computations.

AAMA/WDMA/CSA 101/I.S.2/A440 does not require testing for impact performance.  Model building codes and ASCE/SEI 7 establish criteria for buildings in hurricane-prone locations.  Authorities having jurisdiction may accept other test methods and protocols.  Verify requirements of authorities having jurisdiction.

        - Windborne-Debris Resistance:  Provide sliding aluminum-framed glass doors capable of resisting impact from windborne debris, based on the pass/fail criteria as determined from testing sliding aluminum-frames glass doors identical to those specified, according to [ASTM E 1886 and testing information in ASTM E 1996] [or] [AAMA 506] <Insert test method> and requirements of authorities having jurisdiction.

        - Thermal Movements:  Allow for thermal movements from ambient and surface temperature changes.  Base calculations on surface temperatures of materials due to both solar heat gain and nighttime-sky heat loss.

Differential values in subparagraph below (for aluminum in particular) are suitable for most of the U.S.

          - Temperature Change (Range):  [120 deg F (67 deg C), ambient; 180 deg F (100 deg C)] <Insert temperature range>, material surfaces.

      - ACTION SUBMITTALS

        - Product Data:  For each type of product indicated.  Include construction details, material descriptions, fabrication methods, dimensions of individual components and profiles, hardware, finishes, and operating instructions.

        - Shop Drawings:  For sliding aluminum-framed glass doors.  Include plans, elevations, sections, details, hardware, attachments to other work, operational clearances, and the following:

          - Mullion details for fenestration combinations including reinforcement and stiffeners.

          - Joinery details.

          - Expansion provisions.

          - Flashing and drainage details.

          - Weather-stripping details.

          - Thermal-break details.

          - Glazing details.

          - Accessories.

        - Samples for Initial Selection:  For each type of sliding aluminum-framed glass door indicated.

          - Include similar Samples of hardware and accessories involving color selection.

Delete "Samples for Initial Selection" Paragraph above if colors and other characteristics are preselected and specified or scheduled.  Retain first paragraph below with or without above.

        - Samples for Verification:  For sliding aluminum-framed glass doors and components required, prepared on Samples of size indicated below:

          - Main Framing Member:  12-inch- (300-mm-) long section with[ weather stripping,] glazing bead and factory-applied color finish.

          - Hardware:  Full-size units with factory-applied finish.

          - <Insert component>:  <Insert description>.

Paragraph below is defined in Section 013300 "Submittal Procedures" as a "Delegated-Design Submittal."  Retain if sliding aluminum-framed glass doors are required to withstand specific design loads and design responsibilities have been delegated to Contractor or if structural data are required as another way to verify sliding doors' compliance with performance requirements or performance designation.  Professional engineer qualifications are specified in Section 014000 "Quality Requirements."

        - Delegated-Design Submittal:  For sliding aluminum-framed glass doors indicated to comply with performance requirements and design criteria, including analysis data signed and sealed by the qualified professional engineer responsible for their preparation and used to determine the following:

          - Structural test pressures and design pressures from wind loads indicated.

          - Deflection limitations of glass framing systems.

      - INFORMATIONAL SUBMITTALS

Coordinate first paragraph below with qualification requirements in Section 014000 "Quality Requirements" and as supplemented in "Quality Assurance" Article.

        - Qualification Data:  For qualified [Installer] [manufacturer] [professional engineer] [and] [testing agency].

Retain first option in first paragraph below if manufacturers verify and their product literature indicates that sliding doors were tested according to AAMA/WDMA/CSA procedures.  AAMA permits downsized doors to be tested for optional grades.

        - Product Test Reports:  Based on evaluation of comprehensive tests performed[ within the last four years] by a qualified testing agency, for each class, grade, and size of sliding aluminum-framed glass door.[  Test results based on use of downsized test doors will not be accepted.]

Retain first paragraph below if Contractor is responsible for field quality-control testing and inspecting.

        - Field quality-control reports.

        - Warranty:  Sample of special warranty.

      - CLOSEOUT SUBMITTALS

        - Maintenance Data:  For[ finishes,] weather stripping, operable panels, and operating hardware to include in maintenance manuals.

      - QUALITY ASSURANCE

        - Manufacturer Qualifications:  A manufacturer capable of fabricating sliding aluminum-framed glass doors that meet or exceed performance requirements indicated and of documenting this performance by inclusion in lists and by labels, test reports, and calculations.

        - Installer Qualifications:  An installer acceptable to sliding door manufacturer for installation of units required for this Project.

Retain subparagraph below if Contractor is required to assume responsibility for engineering.  Insert a subparagraph below if installers are required to be trained and registered according to AAMA/WDMA's training and registration program for residential and light-commercial window and exterior door installers.

          - Installer's responsibilities include providing professional engineering services needed to assume engineering responsibility including preparation of data for sliding aluminum-framed glass doors, including Shop Drawings and Designated-Design Submittal, based on testing and engineering analysis of manufacturer's standard units in assemblies similar to those indicated for this Project.

        - Source Limitations:  Obtain sliding aluminum-framed glass doors from single source from single manufacturer.

        - Product Options:  Information on Drawings and in Specifications establishes requirements for aesthetic effects and performance characteristics of sliding aluminum-framed glass doors.  Aesthetic effects are indicated by dimensions, arrangements, alignment, and profiles of components and assemblies as they relate to sightlines, to one another, and to adjoining construction.  Performance characteristics are indicated by criteria subject to verification by one or more methods including preconstruction testing, field testing, and in-service performance.

Retain last paragraph above or first paragraph below.  Retain below to allow drawing details based on one manufacturer's product to establish requirements and still allow competition.

        - Product Options:  Drawings indicate size, profiles, and dimensional requirements of sliding aluminum-framed glass doors and are based on the specific system indicated.  Refer to Section 01 60 00 "Product Requirements." Do not modify size and dimensional requirements.

Retain subparagraph below with either "Product Options" Paragraph above or revise to suit Project.

          - Do not modify intended aesthetic effects, as judged solely by Architect, except with Architect's approval.  If modifications are proposed, submit comprehensive explanatory data to Architect for review.

        - Fenestration Standard:  Comply with AAMA/WDMA/CSA 101/I.S.2/A440, "Standard/Specification for Windows, Doors, and Unit Skylights," for minimum standards of performance, materials, components, accessories, and fabrication.  Comply with more stringent requirements if indicated.

Retain requirements for AAMA or WDMA certification and labeling if required.  Not all manufacturers that test products to demonstrate compliance with AAMA/WDMA testing and performance requirements participate in AAMA's or WDMA's third-party certification program for listing and labeling sliding aluminum-framed glass doors.

          - Provide [AAMA] [WDMA]-certified, sliding aluminum-framed glass doors with an attached label.

        - Safety Glass:  Category II materials complying with testing requirements in 16 CFR 1201.

Retain subparagraph below if applicable.  Not all manufacturers participate in third-party testing programs.

          - Subject to compliance with requirements, permanently mark safety glass with certification label of the SGCC or another certification agency acceptable to authorities having jurisdiction.

        - Glazing Publications:  Comply with published recommendations of glass manufacturers and with GANA's "Glazing Manual" unless more stringent requirements are indicated.

        - Mockups:  Build mockups to verify selections made under sample submittals and to demonstrate aesthetic effects and set quality standards for materials and execution.

Retain subparagraph below for large-scale mockup or include in Section 014000 "Quality Requirements."

          - Build mockup for type(s) of sliding aluminum-framed glass door(s) indicated, in location(s) shown on Drawings.

Retain paragraph below if Work of this Section is extensive or complex enough to justify a preinstallation conference.

        - Preinstallation Conference:  Conduct conference at [Project site] <Insert location>.

Insert agenda items not listed in Section 013100 "Project Management and Coordination."

      - PROJECT CONDITIONS

        - Field Measurements:  Verify actual dimensions of sliding aluminum-framed glass door openings by field measurements before fabrication.

      - WARRANTY

When warranties are required, verify with Owner's counsel that special warranties stated in this article are not less than remedies available to Owner under prevailing local laws.

        - Special Warranty:  Manufacturer's standard form in which manufacturer agrees to repair or replace components of sliding aluminum-framed glass doors that fail in materials or workmanship within specified warranty period.

          - Failures include, but are not limited to, the following:

            - Failure to meet performance requirements.

            - Structural failures including excessive deflection.

Most manufacturers exclude condensation from their warranties; add requirement for condensation to first subparagraph below if available.

            - Water leakage or air infiltration.

            - Faulty operation of movable sash and hardware.

            - Deterioration of metals, metal finishes, and other materials beyond normal weathering.

            - Deterioration of insulating glass[ and laminated glass] as defined in Section 08 80 00 "Glazing."

            - <Insert failure modes>.

Verify available warranties and warranty periods for units and components with manufacturers listed in Part 2 articles.

          - Warranty Period:

            - Sliding Door:  [Three] [Five] <Insert number> years from date of Substantial Completion.

Some manufacturers offer a warranty on insulating glass but may insist that warranty begins on date of manufacture.

            - Glazing:  [10] [20] <Insert number> years from date of Substantial Completion.

            - Metal Finish:  [Five] [10] [15] <Insert number> years from date of Substantial Completion.

- PRODUCTS

      - MANUFACTURERS

        - Basis-of-Design Product:  Subject to compliance with requirements, provide  AA 3900 Thermal, by Kawneer North America, or a comparable product by one of the following:

List below contains some manufacturers with national distribution.  These manufacturers certify that some of their products comply with AAMA/WDMA performance standards.  Retain those that produce types required for Project and verify that products correspond with performance requirements specified and are available and suitable for application.  Insert other manufacturers if required.

          - Arcadia Architectural Products, Inc., Series 5500 Thermal.

          - EFCO Corporation, Series 5XPT Thermal.

          - Substitutions:  See Section 01 25 00 - Substitution Procedures.

      - MATERIALS

Delete this article if materials specified in AAMA/WDMA/CSA 101/I.S.2/A440 are acceptable.  If control over some materials is required, retain or revise applicable paragraphs below.

        - Aluminum Extrusions:  Provide alloy and temper recommended by sliding aluminum-framed glass door manufacturer for strength, corrosion resistance, and application of required finish.  Comply with AAMA/WDMA/CSA 101/I.S.2/A440.

        - Fasteners:  Provide fasteners of aluminum, nonmagnetic stainless steel, or other materials warranted by manufacturer to be noncorrosive for SC 3 severe service conditions and compatible with members, trim, hardware, anchors, and other components of sliding aluminum-framed glass doors.  Comply with AAMA/WDMA/CSA 101/I.S.2/A440.

Generally retain subparagraph below.  Revise if exposed fasteners are permitted.

          - Exposed Fasteners:  Unless unavoidable for applying hardware, do not use exposed fasteners.  For application of hardware, use fasteners that match finish of member or hardware being fastened, as appropriate.

First paragraph below is adequate for most projects; structural calculations may be required on major projects.

        - Anchors, Clips, and Accessories:  Provide anchors, clips, and accessories of aluminum, nonmagnetic stainless steel, or zinc-coated steel or iron for sliding aluminum-framed glass doors, complying with ASTM B 456 or ASTM B 633 for SC 3 severe service conditions; provide sufficient strength to withstand design pressure indicated.

        - Reinforcing Members:  Provide aluminum, nonmagnetic stainless steel, or nickel/chrome-plated steel reinforcing members that are noncorrosive for SC 3 severe service conditions and that comply with AAMA/WDMA/CSA 101/I.S.2/A440; provide sufficient strength to withstand design pressure indicated.

Retain first two paragraphs below for weather-stripped doors.

        - Compression-Type Weather Stripping:  Provide compressible weather stripping designed for permanently resilient sealing under bumper or wiper action, and completely concealed when sliding aluminum-framed glass door is closed.

Retain one of three subparagraphs below.

          - Weather-Stripping Material:  Closed-cell elastomeric, preformed gaskets complying with ASTM C 509.

          - Weather-Stripping Material:  Dense elastomeric gaskets complying with ASTM C 864.

          - Weather-Stripping Material:  Manufacturer's standard system and materials complying with AAMA/WDMA/CSA 101/I.S.2/A440.

        - Sliding-Type Weather Stripping:  Provide woven-pile weather stripping of wool, polypropylene, or nylon pile and resin-impregnated backing fabric.  Comply with AAMA 701.

Retain subparagraph below for improved air-infiltration and water penetration resistance.

          - Weather Seals:  Provide weather stripping with integral barrier fin or fins of semirigid, polypropylene sheet or polypropylene-coated material.  Comply with AAMA 702.

        - Sealant:  For sealants required within fabricated sliding doors, provide sliding aluminum-framed glass door manufacturer's standard, permanently elastic, nonshrinking, and nonmigrating type recommended by sealant manufacturer for joint size and movement.

Insert requirements for trim pieces such as brick molds, mullion covers, and head, jamb, and sill extenders available from some manufacturers.

      - SLIDING DOOR <Insert drawing designation>

Copy this article for each type of sliding aluminum-framed glass door required and re-edit to suit product and Project.  Retain option in first paragraph below if requirements exceed minimums set by AAMA/WDMA/CSA 101/I.S.2/A440.

        - AAMA/WDMA/CSA Performance Requirements:  Provide sliding aluminum-framed glass doors of performance indicated that comply with AAMA/WDMA/CSA 101/I.S.2/A440[ unless more stringent performance requirements are indicated].

Retain one of first six subparagraphs below if AAMA/WDMA/CSA 101/I.S.2/A440 performance designation is the method selected for specifying sliding doors and AAMA/WDMA/CSA minimum gateway performance or optional performance is acceptable.  Use this method by indicating AAMA/WDMA/CSA performance class and performance grade that suit most stringent structural, air-leakage-resistance, and water-penetration-resistance performance requirements needed for Project, based on largest door size for Project.  First option for grade value with each performance class in subparagraphs below is for minimum gateway performance grade.  Optional performance grades are examples only.  If more than one class or grade is required, indicate performance classes and grades on Drawings or in a door schedule.  Verify availability of class and grade specified with manufacturers.

This method makes architects responsible for determining, by themselves or with advice of a qualified professional engineer, not only the basic wind speed applicable to Project but also the specific positive and negative design pressures at corners and other areas of the building, using the analytical method in ASCE/SEI 7.

          - Performance Class and Grade:  R[15] [20] [25] <Insert grade>.

          - Performance Class and Grade:  LC[25] [30] [35] <Insert grade>.

          - Performance Class and Grade:  C[30] [35] [40] <Insert grade>.

          - Performance Class and Grade:  HC[40] [45] [50] <Insert grade>.

          - Performance Class and Grade:  AW[40] [45] [50] <Insert grade>.

          - Performance Class and Grade:  As indicated.

Consider retaining subparagraph below if test performance method is selected for specifying sliding doors and designating a performance class does not conflict with basic wind speed and performance testing indicated.  Retaining below is not required if test performance method is selected for specifying sliding doors, but it may be useful to establish a quality level and testing protocol per AAMA/WDMA/CSA 101/I.S.2/A440 for sliding doors.  For example, life-cycle testing is required by AAMA/WDMA/CSA 101/I.S.2/A440 for AW class sliding doors only.

          - Performance Class:  [R] [LC] [C] [HC] [AW].

AAMA/WDMA/CSA 101/I.S.2/A440 does not require testing for condensation resistance.  Revise first paragraph below to suit Project.  "CR" is the designation used by NFRC in lieu of "CRF."  Window industry CRs and CRFs are typically between 45 and 75.  First option in paragraph is suitable for most of the U.S. at 25 percent relative humidity where outdoor design temperature is below 0 deg F (minus 18 deg C); second option is suitable for same relative humidity at minus 10 deg F (minus 23 deg C).  Increase factor for northern states where winter outdoor design temperature is lower.  If buildings have mechanically controlled humidification, coordinate CR and CRF with design conditions for humidity level.  See AAMA 1503 and NFRC 500.

        - Condensation Resistance:  Provide sliding aluminum-framed glass doors with a minimum [CRF when tested according to AAMA 1503] [CR determined according to NFRC 500] of [45] [52] <Insert value>.

AAMA/WDMA/CSA 101/I.S.2/A440 does not require testing for thermal transmittance.  Revise first paragraph below to comply with requirements of authorities having jurisdiction, or delete if not needed.  Retain one option complying with energy code applicable to Project.

        - Thermal Transmittance:  Provide sliding aluminum-framed glass doors with a maximum whole fenestration product U-factor indicated, when [tested according to AAMA 1503] [determined according to ASTM E 1423] [determined according to NFRC 100].

U-factors vary with glazing selection; size, number, arrangement, and operation of door panels; construction, e.g., with or without thermal break; and other factors.  Whole fenestration product U-factors are greater than center of glass U-factors.  Three options in subparagraph below are recommended by the DOE and the EPA for the northern, north- and south-central, and southern zones of the U.S., respectively, and should be coordinated with SHGCs.

          - U-Factor:  [0.35] [0.40] [0.65] <Insert value appropriate to system of measure> Btu/sq. ft. x h x deg F (W/sq. m x K).

AAMA/WDMA/CSA 101/I.S.2/A440 does not require determining SHGC.  Retain first paragraph below if required by authorities having jurisdiction or if needed.  SHGC requirements vary with regional location; glazing selection; sliding door construction, e.g., frame depth; and other factors.  First and second options below are recommended by the DOE and the EPA for the south-central and southern, and north-central zones of the U.S., respectively, and should be coordinated with U-factors.

        - Solar Heat-Gain Coefficient (SHGC):  Provide sliding aluminum-framed glass doors with a whole-fenestration product SHGC maximum of [0.40] [0.55] <Insert value>, determined according to NFRC 200.

AAMA/WDMA/CSA 101/I.S.2/A440 does not require testing for acoustical performance.  Retain first paragraph below if required.  Options for STC and for Outdoor-Indoor Transmission Class (OITC) ratings are examples only.  STC levels higher than 35 may require costly design modifications and special glazing.  STC is tested according to ASTM E 90, and OITC is tested according to ASTM E 1425.  Revise if sliding doors tested according to AAMA 1801 are required.

Because STC was devised to evaluate construction subject to interior sound frequencies and does not include all typical outdoor frequencies, OITC was developed to evaluate an expanded sound-frequency range thought to be more reflective of noise conditions the building envelope is subject to, such as road, rail, and airplane traffic.  Laboratory ratings are frequently better than ratings resulting from on-site testing because laboratory conditions are carefully controlled.

        - Acoustical Performance:  Provide sliding aluminum-framed glass doors with an [STC] [OITC] rating of [29] [34] <Insert value> when tested according to and determined by [ASTM E 90 and ASTM E 413] [ASTM E 1425 and ASTM E 1332], respectively.

Usually delete remaining paragraphs below if AAMA/WDMA/CSA 101/I.S.2/A440 performance designation is the method selected for specifying sliding aluminum-framed glass doors and AAMA/WDMA/CSA minimum gateway performance or optional performance is acceptable.  Any of these paragraphs could be retained with performance designation indicated in the "AAMA/WDMA/CSA Performance Requirements" Paragraph in this article, if door performance exceeds AAMA/WDMA/CSA minimum gateway performance or optional performance.

Retain remaining paragraphs below if test performance method is selected for specifying sliding doors; delete if they do not suit product and Project.

Retain air-leakage-resistance values to suit sliding doors selected and requirements of authorities having jurisdiction.  Optional example values, in order of least to most stringent, are maximum air-leakage-resistance values allowed at test pressure set for different combinations of product type and performance class according to AAMA/WDMA/CSA 101/I.S.2/A440.  See Clauses 5 and 8 and Table 25 in AAMA/WDMA/CSA 101/I.S.2/A440.

        - Air Leakage Resistance:  Maximum rate not more than indicated when tested according to AAMA/WDMA/CSA 101/I.S.2/A440, Air Leakage Resistance Test.

Test pressure in first subparagraph below is equivalent to 25-mph (11-m/s) wind speed and is typically used to test R, C, LC, and HC (sliding seal units) performance classes.

          - Maximum Rate:  0.3 cfm/sq. ft. (1.5 L/s x sq. m) of area at an inward test pressure of 1.6 lbf/sq. ft. (75 Pa).

Test pressure in first subparagraph below is equivalent to a 50-mph (22-m/s) wind speed and is typically used to test AW (sliding seal units) performance classes.

          - Maximum Rate:  0.3 cfm/sq. ft. (1.5 L/s x sq. m) of area at an inward test pressure of 6.2 lbf/sq. ft. (300 Pa).

          - Maximum Rate:  <Insert rate and test pressure>.

        - Water Penetration Resistance:  No water leakage as defined in the AAMA/WDMA/CSA referenced test methods at a water test pressure equaling that indicated, when tested according to AAMA/WDMA/CSA 101/I.S.2/A440, Water Penetration Resistance Test.

Retain first subparagraph below if performance equal to minimum for all other classes set by AAMA/WDMA/CSA 101/I.S.2/A440 is required.  Retain second subparagraph if performance equal to minimum for AW class sliding doors set by AAMA/WDMA/CSA 101/I.S.2/A440 is required for Project.  Revise either subparagraph if AAMA/WDMA/CSA 101/I.S.2/A440 limit for test pressure of 12 lbf/sq. ft. (580 Pa) does not suit Project.  Revising either subparagraph without verifying with manufacturers that they have tested to greater pressures risks requiring additional testing.

          - Test Pressure:  15 percent of positive design pressure, but not less than 2.9 lbf/sq. ft. (140 Pa) or more than 12 lbf/sq. ft. (580 Pa).

          - Test Pressure:  20 percent of positive design pressure, but not more than 12 lbf/sq. ft. (580 Pa).

          - Test Pressure:  <Insert percent and pressure>.

Option for performance grade indicated for forced-entry resistance in first paragraph below is lowest recognized by ASTM F 842 and is mandatory if AAMA/WDMA/CSA 101/I.S.2/A440 is the method selected for specifying sliding door performance.  Insert another performance grade to suit security objectives or requirements of authorities having jurisdiction, and verify availability with manufacturers.

        - Forced-Entry Resistance:  Comply with Performance Grade [10] <Insert performance grade> requirements when tested according to ASTM F 842.

Life-cycle testing is required by AAMA/WDMA/CSA 101/I.S.2/A440 for AW class sliding doors only.  Delete first paragraph below if life-cycle testing is not required to suit Project or is unavailable for product.

        - Life-Cycle Testing:  Tested according to and complying with AAMA/WDMA/CSA 101/I.S.2/A440.

        - Operating Force and Auxiliary (Durability) Tests:  Tested according to and complying with AAMA/WDMA/CSA 101/I.S.2/A440.

Insert additional requirements here.  For example, Visible Transmittance (VT) value may be required by some authorities having jurisdiction, although it is not included in AAMA/WDMA/CSA 101/I.S.2/A440.

      - GLAZING

        - Glass and Glazing System:  Comply with Section 08 80 00 "Glazing" for safety glass, insulating-glass units, laminated glass, and glazing requirements applicable to glazed sliding aluminum-framed glass doors.

Retain paragraph above or both paragraphs below.  If retaining above, delete remainder of this article.

Retain first paragraph below if standard factory-glazed doors are sufficient for Project.  Insert drawing designation if more than one type of glass is required to suit Project.  Not all manufacturers provide insulating-glass units.  Some manufacturers offer several glazing alternatives, including special units for hot or cold climates.

        - Glass <Insert drawing designation>:  Comply with Section 08 80 00 "Glazing" for requirements applicable to safety glazing, insulating-glass units, and laminated glass units.

Retain one of seven subparagraphs below.

          - Clear, insulating-glass units.

          - Clear, insulating-glass units, with low-E coating pyrolytic on second surface or sputtered on second or third surface.

          - Clear, insulating-glass units, argon gas filled, with low-E coating pyrolytic on second surface or sputtered on second or third surface.

          - Clear, insulating-glass units; outer lite consisting of laminated glass unit with PVB interlayer for windborne-debris resistance.

          - Clear, insulating-glass units, with low-E coating pyrolytic on second surface or sputtered on second or third surface; outer lite consisting of laminated glass unit with PVB interlayer for windborne-debris resistance.

          - Monolithic laminated glass unit, with PVB interlayer, complying with windborne-debris resistance.

          - <Insert glass type, description, and performance requirements>.

Insert requirements in last subparagraph above and paragraph below if custom glass and glazing requirements for doors must be specified entirely in this Section.

        - Glazing System:  [Manufacturer's standard factory-glazing system that produces weathertight seal.] [Manufacturer's standard factory-glazing system that produces weathertight seal and complies with requirements for windborne-debris resistance.] [Manufacturer's standard factory-glazing system as indicated in Section 08 80 00 "Glazing."] <Insert glazing requirements.>

      - HARDWARE

Delete this article if hardware specified in AAMA/WDMA/CSA 101/I.S.2/A440 is acceptable.  If control over some items is required, retain or edit applicable paragraphs below.

Nonmagnetic stainless steel, Series 300, or a superior corrosion-resistant-coated metal may be required to meet specific customer or regional needs and for protection against corrosive environments, such as in urban, coastal, or industrial areas.

        - General:  Provide manufacturer's standard hardware, fabricated from a corrosion-resistant material compatible with aluminum complying with AAMA 907 and designed to smoothly operate, tightly close, and securely lock sliding aluminum-framed glass doors.  Do not use aluminum in frictional contact with other metals.  Where exposed, provide [solid bronze] [extruded, cast, or wrought aluminum] [die-cast zinc with special coating finish] [or] [nonmagnetic stainless steel].

          - Hardware Finish:  [Manufacturer's standard] [Match aluminum appearance] <Insert finish>.

        - Roller Assemblies:  Provide movable panels with adjustable-height roller assemblies, complying with AAMA 906, consisting of self-lubricating, dual tandem [nylon] [steel] [stainless-steel] [manufacturer's standard nylon or steel] ball-bearing rollers; with two roller assemblies per panel.

Some manufacturers use high-leg, high-performance sills to attain better performance levels for air infiltration and water penetration.  Verify requirements of authorities having jurisdiction.

        - Threshold and Sill Cap/Track:  Provide extruded-aluminum threshold and track of thickness, dimensions, and profile indicated; designed to comply with performance requirements indicated[ and to drain to the exterior]; with manufacturer's standard finish.

Retain subparagraph below for ADA-compliant track offered by some manufacturers and that may be permitted by authorities having jurisdiction for nonegress doors.

          - Low-Profile Floor Track:  ADA-ABA compliant.

Retain first paragraph below, or insert another material or revise to suit product and Project.

        - Door Pulls:  Provide manufacturer's standard extruded-aluminum pull grips.

Revise paragraph below to suit Project's locking requirements, or insert others.  Multipoint locking devices improve security and performance.  Include key-operated cylinders here or in Section 087100 "Door Hardware."

        - Lock:  Install manufacturer's keyed cylinder lock and [multipoint ]locking device on each movable panel, lockable from the inside [only] [and outside].  Adjust locking device to allow unobstructed movement of the panel across adjacent panel in the direction indicated.

          - Keying System:  [All cylinders keyed alike] [Keyed to match other building entrances] <Insert instructions>.

      - INSECT SCREENS

        - General:  Design sliding aluminum-framed glass doors and hardware to accommodate screens in a tight-fitting, removable arrangement, with a minimum of exposed fasteners and latches.  Fabricate insect screens to fully integrate with door frame.  Locate screens on the [inside] [outside] of door and provide for each operable door panel.  Comply with SMA 1201.

Retain first option in first paragraph below if only heavy-duty, extruded-aluminum frames are suitable for Project.  Extruded-aluminum frames may be standard or optional with each manufacturer; revise paragraph accordingly.

        - Insect Screen Frames:  Manufacturer's standard [extruded-aluminum] [or] [formed-tubular-aluminum] members, with mitered or coped joints, concealed fasteners, adjustable rollers, and removable PVC or PE spline/anchor concealing edge of mesh.

Retain one of three subparagraphs below.

          - Finish:  [Anodized aluminum] [Baked-on organic coating] in manufacturer's standard color.

          - Finish:  [Anodized aluminum] [Baked-on organic coating] in color selected by Architect from manufacturer's full range.

          - Finish:  Manufacturer's standard.

Retain one of first two paragraphs below or insert another.  Glass-fiber mesh is standard with most manufacturers.  Usually retain first option in first paragraph for most locations; second option is suitable for areas plagued by small insects such as no-see-ums and is also suitable for use as a solar screen that blocks up to 65 percent of incident solar heat and glare.

        - Glass-Fiber Mesh Fabric:  ASTM D 3656, [18-by-14 or 18-by-16] [20-by-20 or 20-by-30] count per sq. in. (645-sq. mm) mesh of PVC-coated, glass-fiber threads; woven and fused to form a fabric mesh resistant to corrosion, shrinkage, stretch, impact damage, and weather deterioration.

Aquamarine mesh color in subparagraph below is available from Phifer Wire Products in 18-by-14 count only.

          - Mesh Color:  [Charcoal gray] [Silver gray] [Aquamarine] <Insert color>.

        - Aluminum Wire Fabric:  18-by-16 count per sq. in. (645-sq. mm) mesh of 0.011-inch- (0.28-mm-) diameter, coated aluminum wire.

          - Wire-Fabric Finish:  [Natural bright] [Charcoal gray] [Black].

        - Hardware:  [Extruded, cast, or wrought aluminum] [die-cast zinc with special coating finish] [cadmium-plated steel] [zinc-plated steel] [or] [nonmagnetic stainless steel].

          - Lock:  Manufacturer's standard pull and keyless locking device on each movable panel, lockable from inside only.  Adjust locking device to allow unobstructed movement of panel across adjacent panel in direction indicated.

Insert requirements for false-muntin grilles and simulated divided lites.  Verify availability with manufacturer.

      - FABRICATION

        - Fabricate sliding aluminum-framed glass doors in sizes indicated.  Include a complete system for assembling components and anchoring doors.

        - Fabricate sliding aluminum-framed glass doors that are reglazable without dismantling panel framing.

Avoid redundancy and delete first paragraph below if U-factor specified for thermal performance in "Sliding Door" Article requires unit with thermally improved construction.  Otherwise, revise below to suit Project.  Thermally improved construction is standard for most aluminum windows.

        - Thermally Improved Construction:  Fabricate sliding aluminum-framed glass doors with an integral, concealed, low-conductance thermal barrier; locate between exterior materials and door members exposed on interior side, and in a manner that eliminates direct metal-to-metal contact.

Revise first subparagraph below to suit Project; delete if not required.

          - Provide thermal-break construction that has been in use for not less than three years and has been tested to demonstrate resistance to thermal conductance and condensation and to show adequate strength and security of glass retention.

Retain first subparagraph below if "pouring and bridging" thermal-break design suits Project; subparagraph is a suggested guide from AAMA.

          - Provide thermal barriers tested according to AAMA 505; determine the allowable design shear flow per the appendix in AAMA 505.

Retain subparagraph below if higher thermal performance is a goal.  Only a few manufacturers offer this type of hardware.

          - Provide hardware with low conductivity, or provide nonmetallic material for hardware bridging thermal breaks at frame.

        - Weather Stripping:  Provide operable panels with a double row of sliding weather stripping in horizontal rails and [single-] [or] [double-]row weather stripping in meeting or jamb stiles.  Provide compression-type weather stripping at the perimeter of each movable panel where sliding-type weather stripping is not appropriate.

          - Provide weather stripping locked into extruded grooves in door panels or frames.

        - Weep Holes:  Provide weep holes and internal drainage passages to conduct infiltrating water to exterior.

Retain first paragraph below if doors are factory glazed.  Verify size limitations of factory glazing with manufacturers.

        - Factory-Glazed Fabrication:  Glaze sliding aluminum-framed glass doors in the factory where practical and possible for applications indicated.  Comply with requirements in Section 08 80 00 "Glazing" and with AAMA/WDMA/CSA 101/I.S.2/A440.

Retain paragraph below if applicable.

        - Glazing Stops:  Provide snap-on glazing stops coordinated with Section 08 80 00 "Glazing" and with glazing system indicated.  Provide glazing stops to match panel frames.

      - GENERAL FINISH REQUIREMENTS

        - Comply with NAAMM's "Metal Finishes Manual for Architectural and Metal Products" for recommendations for applying and designating finishes.

        - Protect mechanical finishes on exposed surfaces from damage by applying a strippable, temporary protective covering before shipping.

        - Appearance of Finished Work:  Noticeable variations in same piece are not acceptable.  Variations in appearance of adjoining components are acceptable if they are within the range of approved Samples and are assembled or installed to minimize contrast.

      - ALUMINUM FINISHES

Retain finishes in this article to suit Project.  If retaining more than one, indicate location of each on Drawings or by inserts.

Retain one of two options in first paragraph below.  Class II finish is standard with many manufacturers; Class I finish is heavy anodized and may be unavailable.  Verify availability with manufacturers.

        - Clear Anodic Finish:  AAMA 611, [AA-M12C22A41, Class I, 0.018 mm] [AA-M12C22A31, Class II, 0.010 mm] or thicker.

Retain one of two options in first paragraph below.  Verify availability with manufacturers.

        - Color Anodic Finish:  AAMA 611, [AA-M12C22A42/A44, Class I, 0.018 mm] [AA-M12C22A32/A34, Class II, 0.010 mm] or thicker.

          - Color:  [Light bronze] [Medium bronze] [Dark bronze] [Black] <Insert color>.

Options in subparagraph above are examples only and may vary in color range and availability among manufacturers; retain one, or delete all and retain one of two options in subparagraph below.

          - Color:  [Match Architect's sample] [As selected by Architect from full range of industry colors and color densities].

First paragraph below references AAMA standard for pigmented organic coating on extrusions and panels.

        - Baked-Enamel or Powder-Coat Finish:  AAMA 2603 except with a minimum dry film thickness of 1.5 mils (0.04 mm).  Comply with coating manufacturer's written instructions for cleaning, conversion coating, and applying and baking finish.

          - Color and Gloss:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color and gloss>.

Retain one of two paragraphs below; if both are required, indicate location of each system on Drawings, in schedules, or by inserts.  Retain AAMA 2604 or AAMA 2605 for high- or superior-performance organic coatings, respectively, on extrusions and panels.  If specific products are required, name coating manufacturers and products.

        - High-Performance Organic Finish:  Two-coat fluoropolymer finish complying with [AAMA 2604] [AAMA 2605] and containing not less than [50] [70] percent PVDF resin by weight in color coat.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

          - Color and Gloss:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color and gloss>.

        - High-Performance Organic Finish:  [Three] [Four]-coat fluoropolymer finish complying with AAMA 2605 and containing not less than [50] [70] percent PVDF resin by weight in both color coat and clear topcoat.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

          - Color and Gloss:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color and gloss>.

- EXECUTION

      - EXAMINATION

        - Examine openings, substrates, structural support, anchorage, and conditions, with Installer present, for compliance with requirements for installation tolerances and other conditions affecting performance of work.

Retain subparagraphs below if required.

          - Masonry Surfaces:  Visibly dry and free of excess mortar, sand, and other construction debris.

          - Wood Frame Walls:  Dry, clean, sound, well nailed, free of voids, and without offsets at joints.  Ensure that nail heads are driven flush with surfaces in opening and within 3 inches (76 mm) of opening.

          - Metal Surfaces:  Dry; clean; free of grease, oil, dirt, rust, corrosion, and welding slag; without sharp edges or offsets at joints.

        - Verify rough opening dimensions, levelness of threshold substrate, and operational clearances.

        - Examine wall flashings, vapor retarders, water and weather barriers, and other built-in components to ensure a coordinated, weathertight sliding aluminum-framed glass door installation.

        - Proceed with installation only after unsatisfactory conditions have been corrected.

      - INSTALLATION

        - Comply with Drawings, Shop Drawings, and manufacturer's written instructions for installing doors, hardware, accessories, and other components.

        - Install sliding aluminum-framed glass doors level, plumb, square, true to line, without distortion, warp or rack of frames and panels, or impeding thermal movement, anchored securely in place to structural support, and in proper relation to wall flashing, vapor retarders, air barriers, water/weather barriers, and other adjacent construction.

        - Set sill members in bed of sealant or with gaskets, as indicated, to provide weathertight construction.

        - Install sliding aluminum-framed glass doors and components to drain condensation, water penetrating joints, and moisture migrating within doors to the exterior.

        - Separate aluminum and other corrodible surfaces from sources of corrosion or electrolytic action at points of contact with other materials according to ASTM E 2112, Section 5.12 "Dissimilar Materials."

      - FIELD QUALITY CONTROL

Retain this article if field tests are required.  If retaining, indicate number of doors to be tested.  Field tests for air and water leakage should be specified for significant projects.

Retain first paragraph below to identify who shall perform tests and inspections.  If retaining second option in paragraph, retain "Field quality-control reports" Paragraph in "Informational Submittals" Article.

        - Testing Agency:  [Owner will engage] [Engage] a qualified testing agency to perform tests and inspections.

Revise first paragraph below if more stringent field testing is required to suit Project.  According to AAMA 502, Test Method A is the default unless otherwise indicated.

        - Tests and Inspections:

          - Testing Methodology:  Testing of sliding aluminum-framed glass doors for air penetration resistance and water resistance will be performed according to AAMA 502, [Test Method A] [Test Method B], by applying same test pressures required to determine compliance with AAMA/WDMA/CSA 101/I.S.2/A440.

          - Testing Extent:  [Three] [Three mockup] <Insert number or description> sliding aluminum-framed glass doors as selected by Architect and a qualified independent testing and inspecting agency.  Sliding doors shall be tested immediately after installation.

See Section 014000 "Quality Requirements" for retesting and reinspecting requirements and Section 017300 "Execution" for requirements for correcting the Work.

        - Sliding aluminum-framed glass door will be considered defective if it does not pass tests and inspections.

        - Prepare test and inspection reports according to AAMA 502.  Testing agency will interpret test results and state in each report whether tested work complies with or deviates from requirements.

      - ADJUSTING, CLEANING, AND PROTECTION

        - Lubricate hardware and moving parts.

        - Adjust operating panels and screens to provide a tight fit at contact points and weather stripping for smooth operation, without binding, and a weathertight closure.

        - Adjust hardware for proper alignment, smooth operation, and proper latching without unnecessary force or excessive clearance.

        - Clean aluminum surfaces immediately after installing sliding doors.  Comply with manufacturer's written recommendations for final cleaning and maintenance.  Avoid damaging protective coatings and finishes.  Remove nonpermanent labels, and clean surfaces.

Retain first two paragraphs below if doors are factory glazed.

        - Clean glass immediately after installing sliding aluminum-framed glass doors.  Comply with manufacturer's written recommendations for final cleaning and maintenance.  Remove nonpermanent labels and clean surfaces.

        - Remove and replace glass that has been broken, chipped, cracked, abraded, or damaged during construction period.

        - Protect sliding door surfaces from contact with contaminating substances resulting from construction operations.  During construction, monitor sliding door surfaces adjacent to and below exterior concrete and masonry surfaces for presence of dirt, scum, alkaline deposits, stains, or other contaminants.  If contaminating substances do contact sliding door surfaces, remove contaminants immediately according to manufacturer's written instructions.

Retain first paragraph below if doors are factory finished.

        - Refinish or replace sliding aluminum-framed glass doors with damaged finishes.

        - Replace damaged components.

END OF SECTION 08 32 13